## Soils
Analytical Report Number: 20-22855
Project / Site name: Clarendon Road
Your Order No: S-RE6075-00005
| Lab Sample Number |  |  |  | 1581916 | 1581917 | 1581918 | 1581919 | 1581920 | 1581921 | 1581922 | 1581923 | 1581924 | 1581925 | 1581926 | 1581927 | 1581928 | 1581929
| Sample Reference |  |  |  | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03
| Sample Number |  |  |  | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied
| Depth (m) |  |  |  | 0.50 | 1.00 | 1.50 | 2.00 | 2.50 | 3.00 | 3.50 | 4.00 | 4.50 | 6.00 | 6.50 | 7.00 | 5.00 | 5.50
| Date Sampled |  |  |  | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating
| Time Taken |  |  |  | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied
| Analytical Parameter (Soil Analysis) | Units | Limit of detection | Accreditation Status
744 | Stone Content | % | 0.1 | NONE | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1
456 | Moisture Content | % | N/A | NONE | 19 | 18 | 20 | 20 | 19 | 21 | 20 | 19 | 18 | 18 | 17 | 16 | 17 | 18
742 | Total mass of sample received | kg | 0.001 | NONE | 1.4 | 1.4 | 1.5 | 1.4 | 1.5 | 1.5 | 1.7 | 1.6 | 1.7 | 1.5 | 1.8 | 1.7 | 1.5 | 1.6
134 | Asbestos in Soil | Type | N/A | ISO 17025 | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected | Not-detected
General Inorganics
8737 | Water Soluble SO4 (2:1 Leach. Equiv.) 1hr extraction | g/l | 0.00125 | MCERTS | 0.61 | 0.68 | 2.2 | 0.92 | 2.6 | 2.8 | 3.1 | 2.4 | 3.5 | 3.4 | 0.98 | 0.83 | 1.2 | 3.1
8739 | Water Soluble SO4 (2:1 Leach. Equiv.) 1hr extraction | mg/kg | 2.5 | MCERTS | 1200 | 1400 | 4500 | 1800 | 5100 | 5600 | 6200 | 4800 | 7100 | 6800 | 2000 | 1700 | 2400 | 6100
8740 | Water Soluble SO4 (2:1 Leach. Equiv.) 1hr extraction | mg/l | 1.25 | MCERTS | 614 | 678 | 2230 | 916 | 2560 | 2820 | 3110 | 2380 | 3540 | 3390 | 982 | 826 | 1220 | 3070
1758 | Ammonium as NH4 | mg/kg | 0.5 | MCERTS | 180 | 100 | 16 | 5.0 | 6.2 | 4.7 | 0.9 | 3.7 | 0.9 | 3.5 | 2.9 | 2.8 | 1.1 | 0.6

## Leachates
Analytical Report Number: 20-22855
Project / Site name: Clarendon Road
Your Order No: S-RE6075-00005
| Lab Sample Number |  |  |  | 1581930 | 1581931 | 1581932 | 1581933 | 1581934 | 1581935 | 1581936 | 1581937 | 1581938 | 1581939 | 1581940 | 1581941 | 1581942 | 1581943
| Sample Reference |  |  |  | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03 | WS03
| Sample Number |  |  |  | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied
| Depth (m) |  |  |  | 0.50 | 1.00 | 1.50 | 2.00 | 2.50 | 3.00 | 3.50 | 4.00 | 4.50 | 6.00 | 6.50 | 7.00 | 5.00 | 5.50
| Date Sampled |  |  |  | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating | Deviating
| Time Taken |  |  |  | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied | None Supplied
| Analytical Parameter (Leachate Analysis) | Units | Limit of detection | Accreditation Status
General Inorganics
7007 | Sulphate as SO4 | mg/l | 0.1 | ISO 17025 | 94.9 | 109 | 173 | 946 | 93.1 | 898 | 667 | 1970 | 173 | 1240 | 130 | 283 | 184 | 223
1754 | Ammonium as NH4 | µg/l | 15 | NONE | 16000 | 8700 | 870 | 290 | 470 | 720 | 58 | 87 | 68 | 480 | 200 | 220 | 82 | 89