## Soils
Analytical Report Number: 22-70509
Project / Site name: CRP36
Lab Sample Number |  |  |  | 2344888
Sample Reference |  |  |  | L6
Sample Number |  |  |  | None Supplied
Depth (m) |  |  |  | None Supplied
Date Sampled |  |  |  | 07/06/2022
Time Taken |  |  |  | None Supplied
Analytical Parameter (Soil Analysis) | Units | Limit of detection | Accreditation Status
Stone Content | % | 0.1 | NONE | < 0.1
Moisture Content | % | 0.01 | NONE | 3.2
Total mass of sample received | kg | 0.001 | NONE | 0.6
Asbestos in Soil | Type | N/A | ISO 17025 | Not-detected
Asbestos Analyst ID | N/A | N/A | N/A | SFS
General Inorganics
Water Soluble Sulphate as SO4 16hr extraction (2:1) | mg/kg | 2.5 | MCERTS | 7000
Water Soluble SO4 16hr extraction (2:1 Leachate Equivalent) | g/l | 0.00125 | MCERTS | 3.5
Water Soluble SO4 16hr extraction (2:1 Leachate Equivalent) | mg/l | 1.25 | MCERTS | 3480
Ammoniacal Nitrogen as NH4 | mg/kg | 0.5 | MCERTS | 4.1
U/S = Unsuitable Sample I/S = Insufficient Sample