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	31st October 2023	
Dear Valerie,
	
Town and Country Planning Act 1990 Section 96A (Non Material Amendment to Planning Permission)

Application in Respect of Planning Permission Ref: HGY/2020/1851

This submission is made by St William Homes LLP (‘St William’) (the applicant) and seeks approval for non-material amendments (NMA) to planning permission HGY/2020/1851.

Application Context

On 31st July 2020 Planning Permission was granted for approval of reserved matters relating to appearance, landscaping, layout, scale, access, pertaining to Buildings E1, E2 and E3, forming Phase 3B of the Eastern Quarter, including the construction of 281 residential units and new landscaped public space pursuant to planning permission HGY/2017/3117 dated 19th April 2018.

This S96A submission seeks consent for two minimal changes to the façade. One is a change in the type of cladding, the other a reduction in overall building heights, each is described below.

Change of Cladding
The cladding proposed in the consented scheme was a ‘metal profiled panel’ that is vertically corrugated. As detailed design progressed it proved challenging to find a suitable profiled panel that meets St William standards for quality, durability and fire safety. A suitable flat panel system was identified and a sample was reviewed on site on the 5th of May 2023 with the Design Officer (Richard Truscott) present. The sample was positively received with no concerns raised. St William therefore propose the flat panel system is used. The change is reflected in the proposed elevations.

Reduction in Building Heights
As detail design has progressed it has proved possible to slightly reduce the height of certain blocks whilst maintaining appropriate ceiling heights internally. We do not believe this detracts from the aesthetic of the consented scheme and is a more efficient use of overall quantity of construction materials. Reduction is as set out below and is reflected in the proposed elevations.

Consented E3 Roof – 70.700 – Revised E3 Roof – 70.275: 425mm height reduction
Consented E1 Roof – 64.300 – Revised E1 Roof – 64.125: 175mm height reduction
Consented E2 Roof – 58.250 – Revised E2 Roof – 57.975: 175mm height reduction
Consented 8th Floor Podium – 51.800 – Revised 8th Floor Podium – 51.675: 125mm height reduction



Application Content

This application comprises:

· Application Form;
· Site Location Plan;
· 6478-SRA-ZZ-XX-DR-A-02200 P3 North Elevation (Full)
· 6478-SRA-ZZ-XX-DR-A-02201 P3 West Elevation (Full)
· 6478-SRA-ZZ-XX-DR-A-02202 P3 South Elevation (Full)
· 6478-SRA-ZZ-XX-DR-A-02203 P3 East Elevation (Full)
· 6478-SRA-ZZ-XX-DR-A-02204 P3 E1 North, E2 South Elevations
· 6478-SRA-ZZ-XX-DR-A-02205 P3 E2 East, E3 West Elevations
· 6478-SRA-ZZ-XX-DR-A-02300 P3 Section A
· 6478-SRA-ZZ-XX-DR-A-02301 P3 Section B
· 6478-SRA-ZZ-XX-DR-A-02400 P3 Bay Study Type A
· 6478-SRA-ZZ-XX-DR-A-02401 P3 Bay Study Type B
· 6478-SRA-ZZ-XX-DR-A-02402 P3 Bay Study Type C
· 6478-SRA-ZZ-XX-DR-A-02403 P3 Bay Study Type D
· 6478-SRA-ZZ-XX-DR-A-02404 P3 Bay Study Type E


Summary

The planning procedures regulating change to existing planning permissions were brought into force on 1 October 2009 by Town and Country Planning (General Development Procedure) (Amendment No. 3) (England) Order 2009 (SI No. 2261) (the Regulations).

The Regulations set out the process for making NMA applications to approved schemes. There is no statutory definition of a NMA as materiality is dependent on the context of the overall scheme. It is considered, in this instance that the proposals will not materially alter the scale or nature of the approved development. Likewise, the principle of development and the impact on the context of the wider scheme will not be impacted.

I trust that this application contains sufficient information to approve the amendments. I would be grateful if you could confirm safe receipt at your earliest convenience and please do not hesitate to contact me should you have any queries regarding this application. 


Yours sincerely,

[bookmark: _GoBack][image: ]

Chris Davis
Senior Technical Manager
christopher.davis@stwilliam.co.uk

St William Homes LLP, Berkeley House, 15b St George Wharf, Vauxhall, London, SW8 2LE
Tel 020 3725 8980 www.stwilliam.co.uk
Registered Office: Berkeley House, 19 Portsmouth Road, Cobham, Surrey, KT11 1JG.  Registered in England and Wales Number OC396332
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