|  |  | Our ref: HGY/2026/0149 Contact: Sarah Madondo Date: 11/03/2026 |
| --- | --- | --- |
| Town and Country Act 1990 (As amended) |  |  |
| Location: | 18 West Road & Unit 4 West Mews , Tottenham, London, N17 0RP |  |
| Proposal: | Approval of details reserved by a condition 14b (Energy and Sustainability Statement) attached to planning permission HGY/2024/1370 |  |
| Wording of condition 14b: | (b) The solar PV arrays and air source heat pumps must be installed and brought into use prior to first occupation of the relevant unit. Within six months following the first occupation of that unit, evidence that the solar PV arrays have been installed correctly and are operational shall be submitted to and approved by the Local Planning Authority, including photographs of the solar array, installer confirmation, and an energy generation statement for the period that the solar PV array has been installed. The solar PV array shall be installed with monitoring equipment prior to completion and shall be maintained at least annually thereafter. |  |

Carbon Management Response 11/03/2026

Documents submitted:

- Unit 1 Operations and Maintenance Manual prepared by Envirolec (dated Dec 2025)

- Unit 2 Operations and Maintenance Manual prepared by Envirolec (dated Dec 2025)

Response

The submitted Operations and Maintenance Manual has included the following information:

- Section 1: Introduction to PV

- Section 2: Design specifications

- Section 3: Operation and maintenance procedure

- Section 4: Warranties

- Section 5: System commissioning documents

The content page has indicated that Section 5 will include information such as test report, commissioning confirmation, and MCS Certificate etc. However the actual information included under Section 5 are only wiring diagram and technical datasheets which do not match the descriptions in the content page.

Actions:

- Applicant should provide information in accordance with the wording of the planning condition, please include site photos showing PV panels as installed, installer confirmation and an energy generation statement for the period that the solar PV array has been installed.

- The installer confirmation typically is commissioning confirmation showing dates of commissioning.

Conclusion

Further information is required so we therefore do not recommend discharging Condition 14b. The applicant should provide a response to the points raised above and issue updated plans/information where required.