|  |  | Our ref: HGY/2026/0739 Contact: Sarah Madondo Date: 08/04/2026 |
| --- | --- | --- |
| Town and Country Act 1990 (As amended) |  |  |
| Location: | 18 West Road & Unit 4 West Mews, Tottenham, London, N17 0RP |  |
| Proposal: | Approval of details reserved by a condition 16c(Post Construction certificate) and condition 27c(living roofs) attached to planning reference HGY/2024/1370 |  |
| Wording of condition 16: | a) Within 6 months of commencement of each building, the Design Stage Accreditation Certificate must be submitted to the Local Planning Authority confirming that the development will achieve a BREEAM “Very Good” outcome (or equivalent), aiming for “Excellent”. This should be accompanied by a tracker demonstrating which credits are being targeted, and why other credits cannot be met on site. The development shall then be constructed in strict accordance with the details so approved, shall achieve the agreed rating and shall be maintained as such thereafter for the lifetime of the development. b) Prior to occupation of each building, the Post-Construction Stage Assessment and tool, and evidence that this has been submitted to BRE should be submitted for approval, confirming that the development has achieved a BREEAM “Very Good” outcome (or equivalent), aiming for “Excellent”, subject to certification by BRE. c) Within 6 months of occupation of each building, a Post-Construction certificate issued by the Building Research Establishment must be submitted to the local authority for approval, confirming this standard has been achieved. In the event that the development fails to achieve the agreed rating for the development, a full schedule and costings of remedial works required to achieve this rating shall be submitted for our written approval with 2 months of the submission of the post construction certificate. Thereafter the schedule of remedial works must be implemented on site within 3 months of the Local Authority’s approval of the schedule, or the full costs and management fees given to the Council for offsite remedial actions. Reason: In the interest of addressing climate change and securing sustainable development in accordance with London Plan (2021) Policies SI2, SI3 and SI4, and Local Plan (2017) Policies SP4 and DM21. |  |
| Condition 27: | (a) Prior to the above ground commencement of development, details of the living roofs must be submitted to and approved in writing by the Local Planning Authority. Living roofs must be planted with flowering species that provide amenity and biodiversity value at different times of year. Plants must be grown and sourced from the UK and all soils and compost used must be peat-free, to reduce the impact on climate change. The submission shall include: i) A roof plan identifying where the living roofs will be located; ii) A section demonstrating settled substrate levels of no less than 120mm for extensive living roofs (varying depths of 120-180mm); iii) Roof plans annotating details of the substrate: showing at least two substrate types across the roofs, annotating contours of the varying depths of substrate iv) Details of the proposed type of invertebrate habitat structures with a minimum of one feature per 30m2 of living roof: substrate mounds and 0.5m high sandy piles in areas with the greatest structural support to provide a variation in habitat; semi-buried log piles / flat stones for invertebrates with a minimum footprint of 1m2, rope coils, pebble mounds of water trays; v) Details on the range and seed spread of native species of (wild)flowers and herbs (minimum 10g/m2) and density of plug plants planted (minimum 20/m2 with root ball of plugs 25cm3) to benefit native wildlife, suitable for the amount of direct sunshine/shading of the different living roof spaces. The living roofs will not rely on one species of plant life such as Sedum (which are not native); vi) Roof plans and sections showing the relationship between the living roof areas and photovoltaic array; and vii) Management and maintenance plan, including frequency of watering arrangements (b) Prior to the occupation of the unit, evidence must be submitted to and approved by the Local Planning Authority that the living roofs have been delivered in line with the details set out in point (a). This evidence shall include photographs demonstrating the measured depth of substrate, planting and biodiversity measures. If the Local Planning Authority finds that the living roofs have not been delivered to the approved standards, the applicant shall rectify this to ensure it complies with the condition. The living roofs shall be retained thereafter for the lifetime of the development in accordance with the approved management arrangements. Reason: To ensure that the development provides the maximum provision towards the creation of habitats for biodiversity and supports the water retention on site during rainfall. In accordance with London Plan (2021) Policies G1, G5, G6, SI1 and SI2 and Local Plan (2017) Policies SP4, SP5, SP11 and SP13. |  |

Carbon Management Response 08/04/2026

Documents submitted:

- BREEAM-0135-1089-1-1

- Valor Tottenham Cycle Shelter Green Roof Completion Photos

Response

Condition 16(c)

The applicant has submitted a BREEAM Final Certificate (number BREEAM-0135-1089 / 01) for the assessment of the development. It has achieved a score of 79.8% which is equivalent to “excellent” rating.

Condition 27(b)

Applicant has submitted the site photos of the completed green roof on the cycle shelter.

Conclusion

The submitted information is acceptable and we can recommend that Condition 16(c) and Condition 27(b) are discharged.