Transport comments

| Application details |  |
| --- | --- |
| Date | 10/08/2026 |
| Planning Reference | HGY/2026/1994 |
| Address | St Ignatius Church, High Road, Tottenham, London, N15 6ND. |
| Officer |  |
| Description of proposals | Non-Material Amendment to planning reference HGY/2025/1497 for the revisions to the site layout, comprising the widening of the existing path from 1.2m to 1.5m, the addition and relocation of cycle storage, and the relocation of site elements within the scheme, including decorative hard landscaping, together with revised planting areas, the repositioning and addition of seating area. |
| Location Details | PTAL= 4, CPZ = Seven Sisters South – Monday to Friday 8am to 6:30pm. |
| Comment: The application will only be acceptable once the applicant has addressed the following outstanding issues: - On the proposed site plan the applicant needs to clearly annotate the quantum and design specification of the cycle parking to be provided. - On the proposed site plan there is a directional arrow – access for marquee delivery which goes by the cycle parking area. Confirmation is sought that this access is for deliveries on foot. - On the proposed site plan 2 disabled parking spaces are provided. Some explanation should be given as to why they are next to one another when there appears to be space to do so. Both disabled spaces should be located as close to the church entrance as possible. - The proposed car park plan, similar to the proposed site plan, sees the 2 disabled parking bays not located side by side and one disabled bay adjacent to stairs. There appears to be room to accommodate both bays adjacent to each other and adjacent to the entrance to the church. The disabled bays should be located next to each other by the church entrance unless there is any justification for the proposed arrangement. - Sliding gates are shown on the proposed site plan. Further details should be given as to how these will operate, i.e. what is the access control arrangement. - Some indication should be given as to where servicing and delivery activity will occur, i.e. is it from one of the parking bays or is there a dedicated loading/unloading bay? - The proposed site plan should show the location of the refuse store and demonstrate how it conforms to Council waste management standards. - The applicant needs to clearly show on proposed site plans where the footpaths have been widened from 1.2m to 1.5m width. Currently all that is shown for footpath width is 1.21m minimum. |  |
| Transport Recommendations: The application will only be acceptable, once the above-mentioned issues have been addressed. |  |