FIRE SAFETY STRATEGY REPORT

79 WESTBEECH ROAD

LONDON

N22 6HU

1.Introduction

This fire safety strategy outlines the measures required to comply with

Part B of the Building Regulations in relation to a single storey rear extension of a terrace single-family dwelling.

The purpose is to ensure safe means of escape, containment of fire, and early warning system.

2.Building Description

Type: Terrace single-family dwelling

Number of Storeys (existing):  2

Use Class: D3 (Dwelling House)

Purpose: Habitable rooms

Construction Type:

Traditional brick with timber and flat roof.

3.Means of Escape:

3.1 Provided a protected hallway opening onto the escape route on the ground floor.

3.2 Escape Window:

Escape windows to first floor rooms to be provided for additional safety.

4. Fire Detection and Alarm System:

A Grade D1 LD2 fire detection system will be installed.

Mains-powered smoke alarms with battery backup on each storey landing level and heat alarm in the kitchen.

All alarms will be interlinked and installed accordance with BS 5839-6: 2019

5. Fire Compartmentation:

Walls and roof will have adequate resistance to prevent vertical and horizontal fire spread (one hour fire protection).

6.Access and Firefighting

As a domestic dwelling, direct access from the street for fire and rescue services is sufficient. Firefighting access remains unchanged post- extension.

7.Materials and Construction:

All materials used must meet reaction to fire [performance standards as per Approved Document Part B.

8.Conclusion:

This fire safety strategy ensures the proposed rear extension complies with relevant fire safety requirements, ensuring life safety and regulatory compliance.

Implementation must be verified on-site and signed off by Building Control.