|  |  | Our ref: HGY/2023/1083 Contact: Sarah Madondo Date: 07/02/2024 |
| --- | --- | --- |
| Town and Country Act 1990 (As amended) |  |  |
| Location: | 116 Norfolk Avenue, Wood Green, London, N13 6AJ |  |
| Proposal: | Demolition of existing dwelling and erection of 2x3bed self-contained flats. |  |

Carbon Management Response 27/10/2023

In preparing this consultation response, we have reviewed:

- Energy and Sustainability Statement prepared by ERS Consultants Ltd. (dated 3 July 2023)

- Relevant supporting documents.

- Summary

The development achieves a reduction of 78.45 % carbon dioxide emissions on site, which is supported in principle. However, Carbon Management cannot currently support this application.

The development does not currently meet:

- London Plan Policy SI2: Be Green – maximising opportunities for renewable energy by producing, storing, and using renewable energy on-site;

- Local Plan SP4: 20% carbon dioxide emission reduction from on-site renewable energy generation; and

- Policy DM21: demonstrate sustainable design, layout and construction techniques.

Some clarifications must be provided with regard to the Energy Strategy and Sustainability Strategy.

- Energy – Overall

Policy SP4 of the Local Plan Strategic Policies, requires all new development to be zero carbon (i.e. a 100% improvement beyond Part L (2021)). The London Plan (2021) further confirms this in Policy SI2.

The overall predicted reduction in CO2 emissions for the development shows an improvement of approximately 78.45% in carbon emissions with SAP10 carbon factors, from the Baseline development model (which is Part L 2021 compliant). This represents an annual saving of approximately 3.35 tonnes of CO2 from a baseline of 4.27 tCO2/year.

| Residential (SAP10 emission factors) |  |  |  |
| --- | --- | --- | --- |
|  | Total regulated emissions (Tonnes CO2 / year) | CO2 savings (Tonnes CO2 / year) | Percentage savings (%) |
| Part L 2021 baseline | 4.27 |  |  |
| Be Lean | 1.33 | 2.94 | 68.85% |
| Be Clean | 1.33 | 0.0 | 0% |
| Be Green | 0.92 | 0.41 | 9.6% |
| Cumulative savings |  | 3.35 | 78.45% |
| Carbon shortfall to offset (tCO2) | 0.92 |  |  |
| Carbon offset contribution | £95 x 30 years x 0.92 tCO2/year = £2,622 |  |  |

Action:

- Please submit the GLA’s Carbon Emission Reporting Spreadsheet.

- The applicant should report their baseline CO2 emissions and savings in tCO2/year, not kgCO2/m2.

Energy Use Intensity / Space Heating Demand

Applications are required to report on the total Energy Use Intensity and Space Heating Demand, in line with the GLA Energy Assessment Guidance (June 2022). The Energy Strategy should follow the reporting template set out in Table 5 of the guidance, including what methodology has been used. EUI is a measure of the total energy consumed annually, but should exclude on-site renewable energy generation and energy use from electric vehicle charging.

| Building type | EUI (kWh/m2/year) | Space Heating Demand (kWh/m2/year) | Methodology used |
| --- | --- | --- | --- |

Actions:

- What is the calculated Energy Use Intensity (excluding renewable energy)? How does this perform against GLA benchmarks, i.e. at 35 kWh/m2/year? Please submit the information in line with the GLA’s reporting template.

- What is the calculated space heating demand? How does this perform against the GLA benchmark of 15 kWh/m2/year? Please submit the information in line with the GLA’s reporting template.

Energy – Lean

The applicant has proposed a saving of 2.94 tCO2 in carbon emissions (68.85 %) through improved energy efficiency standards in key elements of the build, based on SAP10 carbon factors. This goes beyond the minimum 10% reduction set in London Plan Policy SI2 for major applications, so this is supported.

The following u-values, g-values and air tightness are proposed:

| Floor u-value | TBC |
| --- | --- |
| New External wall u-value | 0.18 W/m2K |
| New Timber/Corridor Wall | 0.20 W/m2K |
| Cavity Wall to be improved | 0.55 W/m2K |
| Solid Wall to be improved | 0.30 W/m2K |
| Pitched Roof u-value | 0.11 W/m2K |
| New Flat Roof u-value | 0.15 W/m2K |
| Existing Roof to be improved | 0.18 W/m2K |
| Existing Roof insulated at Rafters to be improved | 0.15 W/m2K |
| Door u-value | 1.40 W/m2K |
| Window u-value | 1.40 W/m2K |
| G-value | 0.63 |
| Air permeability rate | 5 m3/hm2 @ 50Pa |
| Ventilation strategy | Natural ventilation |
| Thermal bridging | y-value = 0.20 |
| Low energy lighting | 100% |
| Heating system Be Lean only | Individual gas boiler (efficiency 84%) |
| Thermal mass | Medium |

London Plan Policy SI4 requires developments to minimise adverse impacts on the urban heat island, reduce the potential for overheating and reduce reliance on air conditioning systems. Through careful design, layout, orientation, materials and incorporation of green infrastructure, designs must reduce overheating in line with the Cooling Hierarchy.

Actions:

- The gross efficiency figure of the gas boiler used in the Baseline (84%) and Be Lean (170%) modelling scenarios is not consistent. Please amend efficiencies to match the applicable notional values for new dwellings (see section 6 of Approved Document L1).

- What is the proportion of glazed area? Consider following the LETI Climate Emergency Design Guide principles in façade design.

- If the air tightness of the scheme is improved, mechanical ventilation with heat recovery could be proposed to further reduce heat losses

- Demonstrate the cooling hierarchy has been followed, and specify which overheating mitigation measures are proposed to reduce the overheating risk within the proposed design:

  - Internal heat generation, i.e. heat distribution infrastructure

  - Heat entering building, i.e. shutters, trees, vegetation, blinds

  - Manage heat through thermal mass and high ceilings

  - Passive ventilation, i.e. openable windows, shallow floorplates, dual aspect, stack effect

  - Mechanical ventilation, i.e. free cooling from outside air in shade, by-pass for summer mode

Energy – Clean

The applicant is not proposing any Be Clean measures. The site is not within reasonable distance of a proposed Decentralised Energy Network (DEN). A Combined Heat and Power (CHP) plant would not be appropriate for size of development.

Energy – Green

As part of the Be Green carbon reductions, all new developments must achieve a minimum reduction of 20% from on-site renewable energy generation to comply with Policy SP4. However, no on-site renewable energy generation is proposed.

The application has reviewed the installation of various renewable technologies. The report concludes that air source heat pumps (ASHPs) are the most viable options to deliver the Be Green requirement. A total of 0.41 tCO2 (9.6%) reduction of emissions are proposed under Be Green measures.

Actions:

- All new development must achieve a minimum 20% reduction from on-site renewable energy generation to comply with Policy SP4. Please submit details on the viability of the available roof space and how much of the roof space can be used to install solar PV.

- It is recommended to make use of solar PV that can further reduce the on-site emissions.

- Applications should also demonstrate how they might take a demand-side response to reducing energy use. Has battery storage for the solar PV system been considered or justify why this is not proposed.

- A living roof should be installed under the solar PV, or if this is not feasible, the roof should be light coloured to reduce solar heat gains and to improve efficiency of the solar panels.

- Please identify on the plans where the internal and external parts of the air source heat pumps will be located and how the units will be mitigated in terms of visual and noise impact.

- What is the Seasonal Coefficient of Performance (SCOP), the Seasonal Performance Factor (SFP) and Seasonal Energy Efficiency ratio (SEER) of the ASHP?

- How much of the heating/hot water demand will be met by the proposed type of heat pump? If this cannot be met fully, how will this be supplemented?

- Carbon Offset Contribution

A carbon shortfall of 0.92 tCO2/year remains (subject to change with amendments in the energy modelling). The remaining carbon emissions will need to be offset at £95/tCO2 over 30 years.

- Overall Sustainability

Policy DM21 of the Development Management Document requires developments to demonstrate sustainable design, layout and construction techniques.

The Sustainability section in the report fails to set out the proposed measures to improve the sustainability of the scheme, including transport, health and wellbeing, materials and waste, water consumption, flood risk and drainage, biodiversity, climate resilience, and landscape design.

Action:

- Set out what urban greening and biodiversity enhancement measures will be proposed (e.g. green infrastructure, bird boxes, bat boxes etc to connect to the green spaces around the site, living roofs, living walls, etc.)

- What electric vehicle charging points are proposed? This allows the future-proofing of the dwelling/development by ensuring the required power has been installed.

- Specify the location and number of safe, covered, and accessible cycle parking spaces.

- A target (%) for responsible sourced, low-impact materials used during construction.

- Set out how any demolition materials can be reused.

- Set out how water demand will be reduced, e.g. rainwater harvesting, grey water system.

- Set out how surface water runoff will be reduced, that it will be separated from wastewater and not discharged into the sewer.

Sustainability – Urban Greening and Biodiversity

London Plan Policy G6 and Local Plan Policy DM21 require proposals to manage impacts on biodiversity and aim to secure a biodiversity net gain. Additional greening should be provided through high-quality, durable measures that contribute to London’s biodiversity and mitigate the urban heat island impact. This should include tree planting, shrubs, hedges, living roofs, and urban food growing. Specifically, living roofs and walls are encouraged in the London Plan. Amongst other benefits, these will increase biodiversity and reduce surface water runoff.

- Conclusion

Overall, it is considered that the application cannot currently be supported from a carbon management and sustainability point of view.

Carbon Management Response 15/12/2023

In preparing this consultation response, we have reviewed:

- Energy and Sustainability Statement RevA prepared by ERS Consultants Ltd. (dated 10 Nov 2023)

- Relevant supporting documents.

- Summary

The development now achieves a reduction of 66% carbon dioxide emissions on site, which is supported in principle. However, Carbon Management cannot currently support this application as the development fails to demonstrate improvement beyond the notional building under Be Lean. This goes against the Energy Hierarchy and requirement to take a fabric first approach.

The applicant should explore more options to improve the fabric energy efficiency aiming for at least 10% reduction under Be Lean and maximise on-site renewable energy generation under Be Green scenario.

The development does not currently meet:

- London Plan Policy SI2: Be Green – Minimising greenhouse gas emissions and maximising opportunities for renewable energy by producing, storing, and using renewable energy on-site;

- Local Plan SP4: working towards a low carbon Haringey and 20% carbon dioxide emission reduction from on-site renewable energy generation;

Some clarifications must be provided with regard to the Energy Strategy and Sustainability Strategy. This should be addressed prior to the determination of the application.

- Energy – Overall

The revised overall predicted reduction in CO2 emissions for the development shows an improvement of approximately 66% in carbon emissions with SAP10 carbon factors, from the Baseline development model (which is Part L 2021 compliant). This represents an annual saving of approximately 1.5 tonnes of CO2 from a baseline of 2.4 tCO2/year.

| Residential (SAP10 emission factors) |  |  |  |
| --- | --- | --- | --- |
|  | Total regulated emissions (Tonnes CO2 / year) | CO2 savings (Tonnes CO2 / year) | Percentage savings (%) |
| Part L 2021 baseline | 2.4 |  |  |
| Be Lean | 2.7 | -0.4 | -15% |
| Be Clean | 2.7 | 0.0 | 0% |
| Be Green | 0.8 | 1.9 | 81% |
| Cumulative savings |  | 1.5 | 66% |
| Carbon shortfall to offset (tCO2) | 0.8 |  |  |
| Carbon offset contribution | £95 x 30 years x 0.8 tCO2/year = £2,280 |  |  |

Action:

- Please provide the SAP sheet for baseline scenario.

Energy Use Intensity / Space Heating Demand

The report now sets out the Energy Use Intensity and the space heating demand for the development. The space heating demand is double than the GLA benchmark which should be minimised as much as possible aiming for less than 15kWh/m2/year through improvement in fabric efficiencies of the development.

| Building type | EUI (kWh/m2/year) | Space Heating Demand (kWh/m2/year) | Methodology used |
| --- | --- | --- | --- |
| Residential | 9.89 | 37.23 | Part L1 - SAP 10.2 & CIBSE TM54 dwellings / & Landlord Circulation |

Actions:

- The space heating demand is more than double the GLA benchmark. What measures are proposed to improve the heat loss and minimise the space heating demand?

Energy – Lean

The applicant has proposed a deterioration rather than improvement beyond the notional building under Be Lean, this is not policy compliant. This goes against the Energy Hierarchy and requirement to take a fabric first approach in line with London Plan Policy SI2 and Local Plan Policy SP4. The development relies solely on air-source heat pumps to meet its energy targets and compensate for its poor performance under Be Lean. This is not supported.

Actions:

- Please explore measures to improve the building fabric efficiency aiming for at least 10% carbon reduction under Be Lean scenario.

- What is the proportion of glazed area? Consider following the LETI Climate Emergency Design Guide principles in façade design.

- If the air tightness of the scheme is improved, mechanical ventilation with heat recovery could be proposed to further reduce heat losses

- Demonstrate the cooling hierarchy has been followed, and specify which overheating mitigation measures are proposed to reduce the overheating risk within the proposed design:

  - Internal heat generation, i.e. heat distribution infrastructure

  - Heat entering building, i.e. shutters, trees, vegetation, blinds

  - Manage heat through thermal mass and high ceilings

  - Passive ventilation, i.e. openable windows, shallow floorplates, dual aspect, stack effect

  - Mechanical ventilation, i.e. free cooling from outside air in shade, by-pass for summer mode

Energy – Green

The application has reviewed the installation of various renewable technologies. The report concludes that air source heat pumps (ASHPs) are the most viable options to deliver the Be Green requirement. A total of 1.5 tCO2 (81%) reduction of emissions are proposed under Be Green measures.

Actions:

- All new development must achieve a minimum 20% reduction from on-site renewable energy generation to comply with Policy SP4. Please submit details on the viability of the available roof space and how much of the roof space can be used to install solar PV.

- It is recommended to make use of solar PV that can further reduce the on-site emissions.

- Applications should also demonstrate how they might take a demand-side response to reducing energy use. Has battery storage for the solar PV system been considered or justify why this is not proposed.

- A living roof should be installed under the solar PV, or if this is not feasible, the roof should be light coloured to reduce solar heat gains and to improve efficiency of the solar panels.

- Please identify on the plans where the internal and external parts of the air source heat pumps will be located and how the units will be mitigated in terms of visual and noise impact.

- What is the Seasonal Coefficient of Performance (SCOP), the Seasonal Performance Factor (SFP) and Seasonal Energy Efficiency ratio (SEER) of the ASHP?

- How much of the heating/hot water demand will be met by the proposed type of heat pump? If this cannot be met fully, how will this be supplemented?

- Carbon Offset Contribution

A carbon shortfall of 0.8 tCO2/year remains (subject to change with amendments in the energy modelling). The remaining carbon emissions will need to be offset at £95/tCO2 over 30 years.

- Overall Sustainability

The Sustainability section in the revised report sets out the proposed measures to improve the sustainability of the scheme, including transport, materials and waste, water consumption, biodiversity, and climate.

Action:

- Set out what urban greening and biodiversity enhancement measures will be proposed (e.g. green infrastructure, bird boxes, bat boxes etc to connect to the green spaces around the site, living roofs, living walls, etc.)

- Please annotate on plans the location of the EV charging point.

- Specify the location and number of safe, covered, and accessible cycle parking spaces.

- Conclusion

Overall, it is considered that the application cannot currently be supported from a carbon management and sustainability point of view.

Carbon Management Response 07/02/2024

In preparing this consultation response, we have reviewed:

- Energy and Sustainability Statement RevB prepared by ERS Consultants Ltd. (dated 21 Dec 2023)

- Relevant supporting documents.

- Summary

The development achieves a reduction of 66% carbon dioxide emissions on site, which is supported in principle. The development now achieved 30% carbon reduction under Be Lean with improved fabric efficiencies.

The applicant should explore more options to maximise on-site renewable energy generation under Be Green scenario.

Appropriate conditions are recommended to secure the benefits of this scheme.

- Energy – Overall

The revised overall predicted reduction in CO2 emissions for the development shows an improvement of approximately 66% in carbon emissions with SAP10 carbon factors, from the Baseline development model (which is Part L 2021 compliant). This represents an annual saving of approximately 1.5 tonnes of CO2 from a baseline of 2.3 tCO2/year.

| Residential (SAP10 emission factors) |  |  |  |
| --- | --- | --- | --- |
|  | Total regulated emissions (Tonnes CO2 / year) | CO2 savings (Tonnes CO2 / year) | Percentage savings (%) |
| Part L 2021 baseline | 2.3 |  |  |
| Be Lean | 1.6 | 0.7 | 30% |
| Be Clean | 1.6 | 0.0 | 0% |
| Be Green | 0.8 | 0.8 | 36% |
| Cumulative savings |  | 1.5 | 66% |
| Carbon shortfall to offset (tCO2) | 0.8 |  |  |
| Carbon offset contribution | £95 x 30 years x 0.8 tCO2/year = £2,280 |  |  |

Energy Use Intensity / Space Heating Demand

The space heating demand is above than the GLA benchmark of 15kWh/m2/year and should be minimised through improvement in fabric efficiencies of the development.

| Building type | EUI (kWh/m2/year) | Space Heating Demand (kWh/m2/year) | Methodology used |
| --- | --- | --- | --- |
| Residential | 7.03 | 22.91 | Part L1 - SAP 10.2 & CIBSE TM54 dwellings / & Landlord Circulation |

Energy – Lean

The applicant has proposed a saving of 0.7 tCO2 in carbon emissions (30%) through improved energy efficiency standards in key elements of the build, based on SAP10 carbon factors.

The following revised u-values, g-values and air tightness are proposed:

| Floor u-value | 0.12 W/m2K |
| --- | --- |
| New External wall u-value | 0.17 W/m2K |
| New Timber/Corridor Wall | 0.20 W/m2K |
| Roof insulated at joints | 0.11 W/m2K |
| Roof insulated at rafters | 0.15 W/m2K |
| New Flat Roof u-value | 0.15 W/m2K |
| Door u-value | 1.40 W/m2K |
| Window u-value | 1.40 W/m2K |
| G-value | 0.63 |
| Air permeability rate | 3 m3/hm2 @ 50Pa |
| Ventilation strategy | MVHR |
| Thermal bridging | Enhanced construction details |
| Low energy lighting | 100% |
| Heating system Be Lean only | Individual gas boiler (efficiency 89%) |
| Thermal mass | Medium |

Energy – Green

A total of 0.8 tCO2 (36%) reduction of emissions are proposed under Be Green measures.

Actions:

- It is recommended to make use of solar PV that can further reduce the on-site emissions.

- Please identify on the plans where the internal and external parts of the air source heat pumps will be located and how the units will be mitigated in terms of visual and noise impact.

- What is the Seasonal Coefficient of Performance (SCOP), the Seasonal Performance Factor (SFP) and Seasonal Energy Efficiency ratio (SEER) of the ASHP?

- How much of the heating/hot water demand will be met by the proposed type of heat pump? If this cannot be met fully, how will this be supplemented?

- Carbon Offset Contribution

A carbon shortfall of 0.8 tCO2/year remains. The remaining carbon emissions will need to be offset at £95/tCO2 over 30 years.

- Overall Sustainability

No further comments.

- Conclusion

Overall, it is considered that the application can be supported from a carbon management and sustainability point of view.

Planning Obligations Heads of Terms

- Payment of carbon offset contribution prior to the above ground construction works at £2,280, based on £2,850 per tonne of carbon emissions.

Planning Conditions

Energy Strategy

The development hereby approved shall be constructed in accordance with the Energy and Sustainability Statement RevB prepared by ERS Consultants Ltd. (dated 21 Dec 2023) delivering a minimum 66% improvement on carbon emissions over 2021 Building Regulations Part L, with SAP10 emission factors, high fabric efficiencies, and air source heat pumps (ASHPs). 

(a) Prior to above ground construction, details of the Energy Strategy shall be submitted to and approved by the Local Planning Authority. This must include:

- Confirmation of how this development will meet the zero-carbon policy requirement in line with the Energy Hierarchy;

- Confirmation of the necessary fabric efficiencies to achieve a minimum 30% reduction in SAP10 carbon factors, including details to reduce thermal bridging;

- Location, specification and efficiency of the proposed ASHPs (Coefficient of Performance, Seasonal Coefficient of Performance, and the Seasonal Performance Factor), with plans showing the ASHP pipework and noise and visual mitigation measures;

- Specification and efficiency of the proposed Mechanical Ventilation and Heat Recovery (MVHR), with plans showing the rigid MVHR ducting and location of the unit;

- Specification of any additional equipment installed to reduce carbon emissions.

The development shall be carried out strictly in accordance with the details so approved prior to first operation and shall be maintained and retained for the lifetime of the development.

(b) The air source heat pump must be installed and brought into use prior to first occupation of the relevant block.

Reason: To ensure the development reduces its impact on climate change by reducing carbon emissions on site in compliance with the Energy Hierarchy, and in line with London Plan (2021) Policy SI2, and Local Plan (2017) Policies SP4 and DM22.

Water butts

No dwelling shall be occupied until details of the location of a water butt of at least 120L internal capacity to be installed to intercept rainwater draining from the roof of each dwelling has been submitted to and approved in writing by the Local Planning Authority and subsequently provided at each dwelling. The approved facilities shall be retained.

Reason: To reduce the risk of flooding and demand for water, increase the level of sustainability of the development and in line with Haringey Local Plan Policy SP5, DM21, DM24 and DM25.

Sustainability Strategy

Prior to above ground commencement of development, details of the sustainability strategy shall be submitted to and approved by the Local Planning Authority. This shall include specifications, plans and sections that demonstrate sustainable design, layout, construction techniques and proposed measures to improve the sustainability of the scheme including but not limited to sustainable transport, health and wellbeing, reduction of material use and waste, water consumption, and flood risk, drainage improvements, and biodiversity enhancement.

The report shall include:

- Urban greening and biodiversity enhancement measures;

- Details on electric vehicles charging points, cycle parking facilities;

- A target percentage for responsibly sourced, low-impact materials used during construction;

- Justification for the demolition of the existing buildings in terms of its impact on the whole life carbon of the development and the circular economy principles;

- Details on how any demolition materials can be reused;

- Details on how surface water runoff will be reduced and overall sustainable drainage strategy;

- Climate Change mitigation measures to be considered for the external spaces and the impact of the increase in severity and frequency of weather events on the building structures.

Reason: To ensure the development provides the maximum provision towards increasing the level of sustainability in line with London Plan (2021) policies G6, SI7 and Haringey Local Plan Policy SP4, DM21, DM25, and DM29.