BREEAM Offices 2018

Pre-assessment

64 Willoughby Lane, Haringey, London N17 0SP

Report prepared by:

Kent Sustainability

10 Walmer Gardens

Cliffsend

Ramsgate

Kent CT12 5JX

tel: 07824 635559

e-mail : gaynor@kentsustainability.co.uk

ISSUE SHEET

| Report Title: | BREEAM New Construction 2018 – Pre-Assessment Report |  |  |
| --- | --- | --- | --- |
| Completed For: | 64 Willoughby Lane |  |  |
| Date of First Issue: | 13/05/2024 |  |  |
| Revision: | 1 | Date: 13/05/2024 |  |
| Completed By: | Gaynor Smissen | Signed: |  |
| Checked By: | Gaynor Smissen |  |  |

This report has been prepared by Kent Sustainability with all reasonable skill, care, and diligence, and taking into account of the manpower and resources devoted to it by agreement with client. This report has been prepared for the sole use of the client for the purpose described and no extended duty of care to any third party is implied or offered. Third parties using any information contained within this report do so at their own risk unless formally agreed by Kent Sustainability.

Kent Sustainability disclaims any responsibility to the client and others in respect of any matters outside the agreed scope of works.

INDEX

1: Introduction										Page 4

2: Minimum Requirements 								Page 5

3: Credit Summary 									Page 6

4: Credit Assessment									Page 8

4.1: Management

4.2: Health & Wellbeing

4.3: Energy

4.4: Transport

4.5: Water

4.6: Materials

4.7: Waste

4.8: Land Use & Ecology

4.9: Pollution

APPENDICES: 										Page 21

A: BREEAM Pre-assessment Scoring Tool

- INTRODUCTION

This BREEAM 2018 Pre-Assessment Report has been prepared to support the Planning Application for the proposed extension to the existing office building. This will be built to a ‘Shell’ Only standard.

The design has been developed to address the energy performance policy requirements of The

London Plan 2021. A target CO2 reduction has therefore been set at 35% relative to the

Building Regulations 2021, through the application of the energy hierarchy. Sustainable design and construction measures have been incorporated in the building confirming the BREEAM-based standard that has been achieved.

BREEAM (Building Research Establishment Environmental Assessment Method) seeks to minimize the adverse effects of buildings on the environment. Its aim is to stimulate the demand for environmental sustainability across the construction sector and enable developments to be recognized according to their environmental benefits by providing a credible and comparable environmental label for buildings.

The overall rating of the building’s environmental performance is awarded using the terms and rating bands below:

| 30% - PASS 45% - GOOD 55% - VERY GOOD | 70% - EXCELLENT 75% - OUTSTANDING |
| --- | --- |

Everything that the development integrates from the requirements, achieves Credits under the following 9 different areas, but each area weights what a credit is worth differently, therefore gaining or losing a credit in an area can sometimes mean more or less than 1 point.

The environmental weightings for each section are as follows:

| - Management – 11% - Health & Wellbeing – 14% - Energy – 16% - Transport – 10% - Water – 7% | - Materials – 15% - Waste – 6% - Land Use & Ecology – 13% - Pollution – 8% |
| --- | --- |

The Pre-Assessment is the initial stage of the BREEAM assessment. Based on the information provided and general assumptions regarding the scale & design of the project, we select those credits most suitable to the project. The target rating for this project is BREEAM ‘Very Good’.

To meet BREEAM Very Good, a point score of 55% must be achieved.  With our current assumptions alone, the development is targeting a score of 59.4%.

The credit selection and BREEAM requirements will be reviewed with the design team when the development progresses and the BREEAM Design Stage (interim) assessment is carried out.

However, many of the credit and evidential criteria require early input from the design team and other consultants at this stage.

- MINIMUM REQUIREMENTS

In addition to the overall percentage score, there is also minimum criteria and credits that must be achieved for each BREEAM rating as follows:

| BREEAM Issue | BREEAM Rating/ Minimum number of credits |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Pass | Good | Very Good | Excellent | Outstanding |
| Man 3- Responsible Construction practices |  |  |  | 1 | 2 |
| Man 4- Commissioning and handover |  |  | 1 | 1 | 1 |
| Man 5- Aftercare |  |  |  | 1 | 1 |
| Ene 1- Reduction of co2 emissions |  |  |  | 4 | 6 |
| Ene 2- Energy Monitoring |  |  | 1 | 1 | 1 |
| Wat 1- Water consumption |  | 1 | 1 | 1 | 2 |
| Wat 2- Water monitoring |  | 1 | 1 | 1 | 1 |
| Mat 3- Responsible Sourcing | 1 | 1 | 1 | 1 | 1 |
| Wst 1- Construction site waste management |  |  |  |  | 1 |
| Wst 3- Operational waste |  |  |  | 1 | 1 |

- CREDIT SUMMARY

| Section | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Management | Man 01 | Project brief and design | 4 | 4 |
|  | Man 02 | Life cycle cost and service planning | 4 | 1 |
|  | Man 03 | Responsible Construction practices | 6 | 5 |
|  | Man 04 | Commissioning and Handover | 1 | 0 |
|  | Man 05 | Aftercare | N/A | N/A |
|  | TOTAL |  | 15 | 10 |

| Health & Wellbeing | Hea 01 | Visual comfort | 4 | 2 |
| --- | --- | --- | --- | --- |
|  | Hea 02 | Indoor air quality | N/A | N/A |
|  | Hea 03 | Safe Containment in Laboratory’s | N/A | N/A |
|  | Hea 04 | Thermal Comfort | N/A | N/A |
|  | Hea 05 | Acoustic performance | 1 | 1 |
|  | Hea 06 | Security | 1 | 1 |
|  | Hea 07 | Safe & Healthy Surroundings | 2 | 1 |
|  | TOTAL |  | 8 | 5 |

| Energy | Ene 01 | Reduction of energy use and CO2 emissions | 9 | 2 |
| --- | --- | --- | --- | --- |
|  | Ene 02 | Energy monitoring | N/A | N/A |
|  | Ene 03 | External Lighting | 1 | 1 |
|  | Ene 04 | Low carbon design | 3 | 0 |
|  | Ene 05 | Energy efficient cold storage | N/A | N/A |
|  | Ene 06 | Energy efficient transportation systems | N/A | N/A |
|  | Ene 07 | Energy efficient laboratory systems | N/A | N/A |
|  | Ene 08 | Energy efficient equipment | N/A | N/A |
|  | Ene 09 | Drying space | N/A | N/A |
|  | TOTAL |  | 13 | 3 |

| Transport | Tra 01 | Transport assessment and travel plan | 2 | 2 |
| --- | --- | --- | --- | --- |
|  | Tra 02 | Sustainable transport measures | 10 | 6 |
|  | TOTAL |  | 12 | 8 |

| Water | Wat 01 | Water consumption | N/A | N/A |
| --- | --- | --- | --- | --- |
|  | Wat 02 | Water monitoring | 1 | 1 |
|  | Wat 03 | Water leak detection and prevention | 1 | 0 |
|  | Wat 04 | Water efficient equipment | N/A | N/A |
|  | TOTAL |  | 2 | 1 |

| Materials | Mat 01 | EI from construction products - life Cycle Assessment | 7 | 0 |
| --- | --- | --- | --- | --- |
|  | Mat 02 | EI from construction products- Environmental Product Declarations | 1 | 0 |
|  | Mat 03 | Responsible sourcing of materials | 4 | 4 |
|  | Mat 04 | Insulation | N/A | N/A |
|  | Mat 05 | Designing for durability and resilience | 1 | 1 |
|  | Mat 06 | Material efficiency | 1 | 1 |
|  | TOTAL |  | 14 | 6 |

| Waste | Wst 01 | Construction and waste management | 5 | 3 |
| --- | --- | --- | --- | --- |
|  | Wst 02 | Recycled aggregates | 1 | 0 |
|  | Wst 03 | Operational waste | 1 | 1 |
|  | Wst 04 | Speculative floor and ceiling finishes | N/A | N/A |
|  | Wst 05 | Adaption to climate change | 1 | 1 |
|  | Wst 06 | Design for disassembly & adaptability | 2 | 2 |
|  | TOTAL |  | 10 | 7 |

| Land Use & Ecology | LE 01 | Site selection | 2 | 1 |
| --- | --- | --- | --- | --- |
|  | LE 02 | Ecological risks and opportunities | 2 | 2 |
|  | LE 03 | Managing impacts on ecology | 3 | 2 |
|  | LE 04 | Ecological change and enhancement | 4 | 2 |
|  | LE 05 | Long term ecological management & maintenance | 2 | 2 |
|  | TOTAL |  | 13 | 9 |

| Pollution | Pol 01 | Impact of refrigerants | N/A | N/A |
| --- | --- | --- | --- | --- |
|  | Pol 02 | Local Air Quality | N/A | N/A |
|  | Pol 03 | Flood and surface water management | 5 | 4 |
|  | Pol 04 | Reduction of night time light pollution | 1 | 1 |
|  | Pol 05 | Reduction of noise pollution | N/A | N/A |
|  | TOTAL |  | 6 | 5 |

| Innovation (exemplary credits) | Man 03 | Responsible Construction practices | 1 | 3 |
| --- | --- | --- | --- | --- |
|  | Hea 01 | Daylighting | 1 | 0 |
|  | Hea 02 | Indoor air quality | 1 | 0 |
|  | Hea 06 | Security | 1 | 0 |
|  | Ene 01 | Reduction of energy use and carbon emissions | 5 | 0 |
|  | Wat 01 | Water consumption | 1 | 0 |
|  | Mat 01 | EI from construction products - life Cycle Assessment | 3 | 0 |
|  | Mat 03 | Responsible sourcing of materials | 1 | 0 |
|  | Wst 01 | Construction and waste management | 1 | 0 |
|  | Wst 02 | Recycled aggregates | 1 | 0 |
|  | Wst 05 | Adaption to climate change | 1 | 0 |
|  | LE 02 | Ecological risks and opportunities | 1 | 0 |
|  | LE 04 | Ecological change and enhancement | 1 | 0 |
|  | TOTAL |  | 19 | 3 |

| TOTAL CREDITS | 112 |
| --- | --- |
| TOTAL % SCORE | 59.4% |
| BREEAM RATING | VERY GOOD |

- CREDIT ASSESSMENT

4.1	MANAGEMENT

|  | Credit | Details | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Management | Man 01 Project brief and design Abbreviations: DT – Design Team TM – BREEAM Technical Manual AP – BREEAM Advisory Professional | Project delivery planning Prior to completion of Concept Design, the project delivery stakeholders must meet to identify and define roles, responsibilities & contributions for each key phase of project delivery in accordance with the BREEAM credit requirements. | 1 | 1 |
|  |  | Stakeholder consultation (interested parties) Prior to completion of the Concept Design, the DT must consult with all interested parties in accordance with the minimum BREEAM content & then demonstrate how the contributions and consultation exercise influences the Initial Project Brief and Concept Design. Prior to completion of the detailed design, all interested parties give and receive consultation feedback. | 1 | 1 |
|  |  | Pre-requisite for BREEAM AP credits (Concept and Developed Design) The project team, formally agree strategic performance targets early in the design process, with the support of the appointed BREEAM AP. | 1 | 1 |
|  |  | BREEAM AP (Concept & Developed Design) Appoint the BREEAM AP at the appropriate time in order to provide the required consultancy and advice in accordance with the credit criteria. | 1 | 1 |
|  | Man 02 Life cycle cost and service planning Abbreviations: LCC – Life Cycle Cost GIFA – Gross Internal Floor Area | Elemental LCC A competent person must carry out an outline, entire asset LCC plan at Process Stage 2 in accordance with the BREEAM LCC requirements. | 1 | 0 |
|  |  | Component level life options appraisal A competent person develops a component level LCC options appraisal by the end of Process Stage 4 in accordance with the BREEAM LCC requirements. | 2 | 0 |
|  |  | Capital cost reporting Report the capital cost for the building in £ per m2 of GIFA (£k/m²) as part of the submission to BRE. | 1 | 1 |
|  | Man 03 Responsible Construction practices Abbreviations: TM – BREEAM Technical Manual AP – BREEAM Advisory Professional PC – Principle Contractor | Pre-requisite - Legal and sustainable timber All timber and timber-based products used during the construction process of the project are legal & sustainable timber. | - | - |
|  |  | Environmental management All parties who at any stage manage the construction site (e.g. the principal contractor, the demolition contractor) must operate an EMS covering their main operations in accordance with the BREEAM requirements. | 1 | 1 |
|  |  | BREEAM AP (site) Pre-requisite The client and the contractor formally agree performance targets. |  |  |
|  |  | BREEAM AP (site) Involve a BREEAM AP in the project at an appropriate time and level to provide consultancy & advice covering the items detailed in the credit criteria. | 1 | 1 |
|  |  | Responsible Construction Management The PC evaluates the risks (on site and off site), plans and implements actions to minimise the identified risks, covering items listed as required for one credit in table 4.1. For the second credit, achieve six additional items from table 4.1. | 1 | 1 |
|  |  | Monitoring of construction site impacts 1st Credit - Utility consumption. Set targets & monitor Energy & Water consumption on site in accordance with the BREEAM requirements. 2nd Credit - Construction materials & waste. Set targets & monitor transportation movements & impacts resulting from delivery of construction materials to site & construction waste from site, in accordance with the BREEAM requirements. | 2 | 2 |
|  |  | Exemplary Credit for exemplary level performance. | 1 | 1 |
| Management | Man 04 Commissioning and Handover | Commissioning - testing & responsibilities Prepare a schedule of commissioning and testing in accordance with the BREEAM criteria & credit requirements. | Credit N/A | Credit N/A |
|  |  | Commissioning - design & preparation Appoint an appropriate team member (check requirements) to cover the responsibilities & tasks detailed in the credit criteria. | Credit N/A | Credit N/A |
|  |  | Testing & inspecting building fabric Post-construction testing and inspections in accordance with the BREEAM requirements to quality-assure the integrity of the building fabric, continuity of insulation, avoidance of thermal bridging and air leakage paths etc & rectify any defects. | 1 | 0 |
|  |  | Handover Prior to handover, develop Building User guides & training schedules in accordance with the BREEAM requirements. | Credit N/A | Credit N/A |
|  | Man 05 Aftercare | Aftercare support Provide aftercare support to the building occupiers in accordance with the credit criteria. | Credit N/A | Credit N/A |
|  |  | Commissioning Complete commissioning over 12-months once the building is occupied in line with the credit criteria. | Credit N/A | Credit N/A |
|  |  | Post-Occupancy Evaluation (POE) The client or building occupier commits to carry out a BREEAM compliant POE one year after the building is occupied to gain feedback re. in-use performance. | Credit N/A | Credit N/A |

4.2	HEALTH & WELLBEING

|  | Credit | Details | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Health & Wellbeing | Hea 01 Visual comfort | Control of glare from sunlight Identify areas at risk of glare using a glare control assessment in accordance with BREEAM req. | Credit N/A | Credit N/A |
|  |  | Daylighting The relevant building areas must the meet good practice daylight criteria. | 2 | 0 |
|  |  | View out 95% of the floor area in 95% of spaces for each relevant building area must have an adequate view out. | 1 | 1 |
|  |  | Internal and external lighting levels, zoning and control Internal and external lighting systems must be designed to avoid flicker, provide appropriate illuminance (lux) levels and be appropriately zoned to allow for occupant control in accordance with the credit criteria. | 1 | 1 |
|  |  | Exemplary Credit for Daylighting. | 1 | 0 |
|  | Hea 02 Indoor air quality | Indoor air quality (pre-requisite) A site-specific indoor air quality plan must be produced in accordance with guidance. The objective of the plan is to facilitate a process that leads to design, specification and installation decisions and actions that minimise indoor air pollution during occupation of the building. | Credit N/A | Credit N/A |
|  |  | Ventilation The building has been designed in accordance with the credit design criteria, to minimise the indoor concentration and recirculation of pollutants in the building. | Credit N/A | Credit N/A |
|  |  | Emissions from construction products 1 credit - 3 of 5 product types meet the emission limits, testing requirements and any additional requirements listed in Table 5.11. 2 credits – ALL of the product types meet the requirements listed in Table 5.11. | Credit N/A | Credit N/A |
|  |  | Post-construction indoor air quality measurement The formaldehyde concentration in indoor air is measured post construction (but pre-occupancy) and meets the BREEAM requirements. | Credit N/A | Credit N/A |
|  |  | Exemplary Credit for exemplary level performance in Emissions from construction products. | Credit N/A | Credit N/A |
|  | Hea 03 | Credit no longer assessed. | - | - |
|  | Hea 04 Thermal Comfort | Thermal modelling Thermal modelling will need to be carried out using software in accordance with CIBSE AM11(79) Building Energy and Performance Modelling in accordance with the BREEAM criteria. | Credit N/A | Credit N/A |
|  |  | Design for future thermal comfort The thermal modelling demonstrates that the relevant requirements are achieved for a projected climate change environment. | Credit N/A | Credit N/A |
| Health & Wellbeing |  | Thermal zoning and controls The thermal modelling analysis has informed the temperature control strategy for the building and its users and has addressed the relevant credit criteria. | Credit N/A | Credit N/A |
|  | Hea 05 Acoustic performance | Acoustic performance Sound testing will be carried out for internal ambient noise levels and meet the relevant BREEAM criteria & testing requirements. | 1 | 1 |
|  | Hea 06 Security Abbreviations: SQSS – Suitably Qualified Security Specialist SNA – Security needs assessment | An SQSS must conduct an evidence-based SNA during or prior to Concept Design. The purpose of the SNA will be to identify attributes of the proposal, site & surroundings which may influence the approach to security for the development. The SQSS develops a set of security controls and recommendations for incorporation into the proposals. | 1 | 1 |
|  |  | Exemplary Credit - A compliant risk-based security rating scheme has been used. | 1 | 0 |
|  | Hea 07 Safe and healthy surroundings | Safe access (1 credit) Dedicated and safe cycle & foot paths are provided from the site entrance to any cycle storage and connect to offsite paths where applicable in accordance with BREEAM criteria. | 1 | 0 |
|  |  | Outside space (1 credit). There is an outside space providing building users with an external amenity area. | 1 | 1 |

4.3	ENERGY

|  | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Energy | Ene 01 Reduction of energy use and carbon emissions | Reduction of CO2 emissions To meet BREEAM ‘Very Good’ there is no actual minimum standard to achieve. A preliminary relevant national building regulations compliant standard. A preliminary SBEM has been received showing an improvement of 40.48% Building Regulations. | 9 | 2 |
|  |  | Exemplary Credits for exemplary level performance | 7 | 0 |
|  | Ene 02 Energy monitoring | Sub metering of end use categories Install energy metering systems so that at least 90% of the estimated annual energy consumption of each fuel is assigned to the end-use categories in accordance with BREEAM requirements, e.g. Space heating, domestic hot water, Humidification, cooling, fans, lighting, small power | Credit N/A | Credit N/A |
|  | Ene 03 External Lighting | External Lighting External light fittings within the construction zone will have: - Average initial luminous efficacy of not less than 70 luminaire lumens per circuit Watt - Automatic control to prevent operation during daylight hours - Presence detection in areas of intermittent pedestrian traffic. | 1 | 1 |
|  | Ene 04 Low carbon design | Passive design (two credits) A passive design analysis would need to be carried out including an analysis of free cooling and identifying opportunities for the implementation of free cooling solutions. | 2 | 0 |
|  |  | Low and zero carbon technologies (one credit). A feasibility study is carried out to establish the most appropriate recognised local low or zero carbon energy sources. | 1 | 0 |
| Energy | Ene 05 Energy efficient cold storage | Credit N/A | Credit N/A | Credit N/A |
|  | Ene 06 EE transportation systems Abbreviations: EE– Energy Efficient | Energy consumption (one credit) A lift transportation analysis will need to be carried out to determine and specify the optimum number, size, and type of lifts. The lift manufacturer would usually supply this. | Credit N/A | Credit N/A |
|  |  | EE features (one credit) Following the analysis, the lifts must have the 3 EE features detailed in the BREEAM criteria. | Credit N/A | Credit N/A |
|  | Ene 07 EE lab systems | Credit N/A | Credit N/A | Credit N/A |
|  | Ene 08 EE equipment | Credit N/A | Credit N/A | Credit N/A |
|  | Ene 09 Drying space | Credit N/A | Credit N/A | Credit N/A |

4.4	TRANSPORT

|  | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Transport | Tra 01 Transport assessment and travel plan | Transport assessment and travel plan A site-specific transport assessment (or travel statement) & draft travel plan, has been developed for the site which can be used to influence the site layout and built form. This is used to promote sustainable and active travel. The purpose is to deliver transport and transport-related benefits to the development itself and the wider community. | 2 | 2 |
|  | Tra 02 Sustainable transport measures | Pre-requisite - To achieve any credits under Tra 2 you must achieve criteria 3-5 in Tra 01. | - | - |
|  |  | Transport options implementation (up to 10 credits) The purpose of this section is to encourage reliance on active travel and engagement with local authorities and to promote provision of electric car recharging stations and reduced reliance on cars. Cycle storage will be provided for staff and car sharing will be promoted. 6 out of 10 credits assumed at this stage. | 10 | 6 |

4.5	WATER

|  | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Water | Wat 01 Water consumption | Water consumption To minimise the consumption of potable water in sanitary applications, low water consuming fittings will be installed. 1 Credit - 12.5% improvement 2 Credit - 25% improvement 3 Credit - 40% improvement 4 Credit - 50% improvement 5 Credit - 55% improvement In accordance with Ashford Borough Councils requirement of 40% over the notional baseline. | Credit N/A | Credit N/A |
|  |  | Exemplary Credit - 65% improvement | 1 | 0 |
|  | Wat 02 Water monitoring | Water monitoring Specify a water meter on the mains water supply and sub-meter areas with high usage in accordance with BREEAM requirements. | 1 | 1 |
|  | Wat 03 Water leak detection | Leak detection system (1 Credit) A leak detection system capable of detecting a major water leak must be installed in accordance with BREEAM criteria. | 1 | 0 |
|  |  | Flow control devices (1 Credit) Flow control devices that regulate the water supply to each WC area or sanitary facility according to Demand must be installed, to minimise undetected wastage and leaks from sanitary fittings and supply pipework. | Credit N/A | Credit N/A |
|  | Wat 04 Water efficient equipment | Credit N/A | Credit N/A | Credit N/A |

4.6	MATERIALS

|  | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Materials | Mat 01 EI from construction products - life Cycle Assessment | LCA Superstructure This section looks at reducing the burden on the environment from construction products by recognising and encouraging measures to optimise construction product consumption efficiency. Most products will be selected that have a low environmental impact (including embodied carbon), over the life cycle of the building. To enable more credits a life cycle impact assessment would need to carried out at planning stage. | 6 | 0 |
|  | Mat 02 EI from construction products- Environmental Product Declarations | Specification of products with a recognised environmental product declaration (EPD) | 1 | 0 |
|  | Mat 03 Responsible sourcing of materials | Legal and sustainable timber (prerequisite) 100% of timber and timber-based products used on the project are 'Legal' and 'Sustainable' as per the UK Government's Timber Procurement Policy (TPP). Compliance with criterion 1 is a minimum requirement for achieving any BREEAM rating. | - | - |
| Materials |  | Enabling sustainable procurement (one credit) A sustainable procurement plan will be used by the design team to guide specification towards sustainable construction products and will cover the minimum requirements of the BREEAM criteria. | 1 | 1 |
|  |  | Measuring responsible sourcing Selecting products that involve lower levels of negative environmental, economic and social impact across their supply chain including extraction, processing and manufacture. Encouraging the construction industry to identify risks and reduce the environmental, economic and social issues in the supply chain of construction products. Encouraging the use and the improvement of credible and comparable schemes to evaluate the responsible sourcing of products. | 3 | 3 |
|  |  | Exemplary Credit - As above, plus core building services ≥ 50% | 1 | 0 |
|  | Mat 04 Insulation | Credit N/A | Credit N/A | Credit N/A |
|  | Mat 05 Designing for durability and resilience | This project will be designed to reduce the need to repair and replace materials resulting from damage to exposed elements of the building and landscape. Protection measures will be incorporated into the building's design and construction to reduce damage to the building’s fabric or materials in case of accidental or malicious damage occurring. | 1 | 1 |
|  | Mat 06 Material efficiency | Opportunities must be identified, and appropriate measures investigated and implemented, to optimise the use of materials in building design, procurement, construction, maintenance and end of life in accordance with BREEAM credit criteria. | 1 | 1 |

4.7	WASTE

|  | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Waste | Wst 01 Construction and waste management | A Site waste Management Plan will be implemented to reduce construction waste by encouraging reuse, recovery and best practice waste management practices to minimise waste going to landfill. | 1 | 1 |
|  |  | Construction resource efficiency (3 credits) Prepare a BREEAM compliant Resource Management Plan (RMP) covering the BREEAM criteria & meet or improve on the following benchmarks: 1 Credit - ≤ 13.3 m3 or ≤ 11.1 Tonne 2 Credits - ≤ 7.5m3 or ≤ 6.5 Tonne 3 Credits - ≤ 3.4m3 or ≤ 3.2 Tonne Exemplary level ≤ 1.6 ≤ 1.9 | 3 | 2 |
| Waste |  | Exemplary Credit - ≤ 1.6m3 or ≤ 1.9 Tonne | 1 | 0 |
|  |  | Diversion of resources from landfill (1 credit) Meet, where applicable, the diversion from landfill benchmarks: Non-demolition - 70% Volume or 80% Tonnage Demolition - 80% Volume or 90% Tonnage Sort waste materials into separate key waste groups as per Table 10.3 either on-site or through a licensed contractor for recovery. | 1 | 1 |
|  |  | Exemplary Credit - Non-demolition - 85% Volume or 90% Tonnage Demolition - 85% Volume or 95% Tonnage | 1 | 0 |
|  | Wst 02 Recycled aggregates | Recycled aggregates Encouraging the use of recycled and secondary aggregates. Identify all aggregate uses and types on the project & determine the quantity in tonnes for each identified use and aggregate type. Identify the region in which the aggregate source is located & calculate the distance in kilometres travelled by all aggregates by transport type & enter all info into BREEAM calculator. | 1 | 0 |
|  |  | Exemplary Credit available for exceeding the exemplary level performance benchmark. | 1 | 0 |
|  | Wst 03 Operational waste | Providing a dedicated space for the segregation and storage of operational recyclable waste generated in accordance with the credit criteria. | 1 | 1 |
|  | Wst 04 Speculative floor and ceiling finishes | Credit N/A | Credit N/A | Credit N/A |
|  | Wst 05 Adaption to climate change | Resilience of structure, fabric, building services and renewables installation (One credit) - Conduct a climate change adaptation strategy appraisal using a systematic risk assessment to identify the impact of expected extreme weather conditions arising from climate change on the building over its projected life cycle. The assessment covers the installation of building services and renewable systems, as well as structural and fabric resilience aspects. | 1 | 1 |
| Waste | Wst 06 Design for disassembly and adaptability | Design for disassembly and functional adaptability - recommendations (One credit) Conduct a study to explore the ease of disassembly and the functional adaptation potential of different design scenarios by the end of Concept Design & develop recommendations or solutions in line with the BREEAM methodology. | 1 | 1 |
|  |  | Disassembly and functional adaptability – implementation (One credit) Achieve the first credit & provide an update, on how the recommendations or solutions proposed by Concept Design have been implemented where practical and cost effective. Must cover all BREEAM requirements. | 1 | 1 |

4.8	LAND USE & ECOLOGY

|  | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Land Use & Ecology | LE 01 Site selection | Previously occupied land (one credit) Credit not achieved, at least 75% of the proposed development needs to be on previously occupied land. | 1 | 1 |
|  |  | Contaminated land (one credit) A contaminated land professional undertakes a site investigation, risk assessment and appraisal, which deems that land within the development footprint to be affected by contamination. | 1 | 0 |
|  | LE 02 Ecological risks and opportunities Abbreviations: SQE – Suitably Qualified Ecologist | Pre-requisite The client or contractor confirms compliance is monitored against all relevant UK and EU or international legislation relating to the ecology of the site. | - | - |
|  |  | Survey and evaluation (one credit) A SQE has carried out a survey and evaluation in accordance with BREEAM Methodology for the site early enough to influence site preparation works, layout and, where necessary, strategic planning decisions. The SQE’s survey and evaluation determines the site’s ecological baseline & provides recommendations to team members to influence decisions made for activities during site preparation, design and construction works, which can support ecological features. | 1 | 1 |
|  |  | Determining the ecological outcomes for the site (one credit) Survey and evaluation criteria relevant to comprehensive route above to identify, appraise and select measures to meet the optimal ecological outcomes for the site in line with the mitigation hierarchy of action. | 1 | 1 |
|  |  | Exemplary level criteria - Wider site sustainability Achieve criteria above & achieve credits: - Hea 07 Safe and healthy surroundings - Both credits - Pol 03 Flood and surface water management - Achieve credits for 'Surface water run-off' and 'Minimising watercourse pollution' - Pol 05 Reduction of noise pollution | 1 | 0 |
| Land Use & Ecology | LE 03 Managing impacts on ecology | Pre-requisite - Ecological risks and opportunities LE 02's 'Survey and evaluation and Determining ecological outcomes’ criteria have been achieved. | - | - |
|  |  | Planning and measures on-site (1 credit) Further planning to avoid & manage negative ecological impacts on-site is carried out early enough to influence the concept design and design brief as well as site preparation planning (typically Concept Design stage). On-site measures for managing negative ecological impacts during site preparation and construction are implemented in-practice. The above is based on input from the project team in collaboration with representative stakeholders and data collated as part of the ‘Determining ecological outcomes’ in LE 02 Ecological risks and opportunities. | 1 | 1 |
|  |  | Managing negative impacts (2 credits) First credit is achieved & negative impacts from site preparation & construction works have been managed according to the mitigation hierarchy in line with the SQE's recommendations and, either: No overall loss of ecological value has occurred (two credits). The loss of ecological value has been minimised (two credits). | 2 | 1 |
|  | LE 04 Ecological change and enhancement | Pre-requisite - Managing negative impacts on ecology Criterion 6 in LE 03 has been achieved & the client or contractor confirms compliance is monitored against all relevant UK, EU or international legislation relating to the ecology of the site. | - | - |
|  |  | Ecological enhancement (1 credit) Measures have been implemented that enhance ecological value, which are based on input from the project team and SQE in collaboration with representative stakeholders and data collated as part of the ‘Determining ecological outcomes’ in LE 02. | 1 | 1 |
|  |  | Change and enhancement of ecology (3 credits) Up to three credits are awarded based on the change in ecological value occurring as a result of the project. This must be calculated by SQE in accordance with BREEAM Calculation Methodology. | 3 | 1 |
|  |  | Exemplary level criteria The change in ecological value of the site meets the exemplary level. | 1 | 0 |
| Land Use & Ecology | LE 05 Long term ecological management & maintenance | Pre-requisite - Statutory obligations, planning & site implementation The client or contractor has confirmed that compliance is being monitored against all relevant UK, EU and international standards relating to the ecology of the site. Criterion 8 in LE 03 must be achieved, and at least one credit under LE 04 for 'Change and Enhancement of Ecology' must be awarded. | - | - |
|  |  | Management & maintenance throughout the project (1 credit) Measures have been implemented to manage and maintain ecology throughout the project. These measures are based on input from the project team in collaboration with representative stakeholders and data collated as part of the ‘Determining ecological outcomes’. To ensure the optimal ecological outcomes agreed in LE 02 are met in-practice, these measures must monitor and review the effectiveness of the mitigation and enhancement measures in place for LE 03 & LE 04 to ensure they are implemented. A section on Ecology and Biodiversity must be included as part of the tenant or building owner information supplied, to inform the owner or occupant of local ecological features, value and biodiversity on or near the site (see Methodology). This should include detailed management and maintenance plans as required by landscape and asset managers as well as relevant parts of the handover information for occupiers written in a format that encourages understanding and supportive behaviours. | 1 | 1 |
|  |  | Landscape & ecology management plan (1 credit) A Landscape & Ecology Management Plan, or equivalent, has been developed in accordance with BS42020:2013 Section 11.1(213) covering at least the first five years after project completion as a minimum in accordance with the credit criteria. | 1 | 1 |

4.9	POLLUTION

|  | Credit No | Credit Title | Credits available | Credits Targeted |
| --- | --- | --- | --- | --- |
| Pollution | Pol 01 Impact of refrigerants | Pre-requisite All systems with electric compressors comply with the requirements of BS EN 378:2016(215) (parts 2 and 3). Refrigeration systems containing ammonia comply with the Institute of Refrigeration Ammonia Refrigeration Systems code of practice. | - | - |
|  |  | Impact of refrigerants (two credits) The direct effect life cycle CO₂ equivalent emissions (DELC) of ≤100 CO₂-eq/kW. For systems which provide cooling and heating, the worst performing output based on the lower of kW cooling output and kW heating output is used to complete the calculation. OR All refrigerants used have a global warming potential (GWP) ≤10. | Credit N/A | Credit N/A |
| Pollution |  | Leak detection (one credit) All systems are hermetically sealed or only use environmentally benign refrigerants OR Where the systems are not hermetically sealed: Systems have: - A permanent automated refrigerant leak detection system, that is robust and tested, and capable of continuously monitoring for leaks. OR - An inbuilt automated diagnostic procedure for detecting leakage is enabled. In the event of a leak, the system must be capable of automatically responding and managing the remaining refrigerant charge to limit loss of refrigerant. | Credit N/A | Credit N/A |
|  | Pol 02 Local Air Quality | Local Air Quality Emissions from all installed combustion plant that provide space heating and domestic hot water do not exceed the NOx levels set in Table 12.4. | Credit N/A | Credit N/A |
|  | Pol 03 Flood and surface water management Abbreviations: FRA – Flood Risk Assessment AC – Appropriate Consultant | Pre-requisite An appropriate consultant is appointed to carry out and demonstrate the development's compliance with all criteria. | - | - |
|  |  | Flood resilience (two credits) A site-specific compliant FRA confirms the development is in flood zone 2 that is defined as having a medium probability of flooding | 2 | 2 |
|  |  | Surface water run-off (two credits) An AC will need to confirm the peak rate of run-off from the site to any watercourses. Any additional runoff must be prevented from leaving the site by using infiltration or other sustainable drainage systems in accordance with the BREEAM criteria for different rates & events. | 2 | 2 |
|  |  | Minimising watercourse pollution (one credit) Separators and pollution prevention systems must be designed into drainage systems. | 1 | 0 |
|  | Pol 04 Reduction of night time light pollution | Reduction of night-time light pollution External lighting will be automatically switched off between 23:00 and 07:00. If safety or security lighting is provided used between 23:00 and 07:00, it must comply with the lower levels of lighting recommended during these hours in Table 2 of the ILP guidance notes. Illuminated advertisements must be designed in compliance with ILP PLG05 The Brightness of Illuminated Advertisements. | 1 | 1 |
| Pollution | Pol 05 Reduction of noise pollution | Where there are noise-sensitive areas within the assessed building or noise-sensitive areas within 800 m radius of the assessed site, a noise impact assessment compliant with BS 4142:2014(231) is commissioned to cover the BREEAM Requirements | Credit N/A | Credit N/A |

APPENDICES:

A: BREEAM Assessment Scoring Tool