## C Occupants
Block C Occupants
Apartment | No. of Bedrooms | No. of Occupants
C2.01 | 3B | 5
C2.02 | 3B | 5
| 6 | 10 | Total no. of occupants

## C TFA & Perimeter
Block C TFA
Level | Areas TFA | Areas (Understairs) | Total Area
00 | 108.2 | 0.7 | 108.9
01 | 88.9 | 0 | 88.9
02 | 56.7 | 0 | 56.7
Total | 253.8 | 0.7 | 254.5
Block C Slab Perimeter
(length of the floor slab from Revit)
C Slab Perimeter
13.715 | North
10.79 | East
12.646 | South
10.79 | West
47.941 | metres
Block C Total Area
143.778 | meters

## C Windows
Block C1
North Elevation
Window Type | Height (m) | Width (m) | No. of Windows | Individual Area (m²) | Total Area (m²)
309 (glazed side panel) | 2.44 | 0.2 | 2 | 0.48 | 0.97
315 | 1.275 | 1.023 | 2 | 1.3 | 2.6
352 | 1.425 | 1.023 | 2 | 1.47 | 2.94
353 | 2.25 | 1.023 | 4 | 2.3 | 9.2
354 | 2.25 | 1.023 | 2 | 2.3 | 4.6
Total Area (m²) |  |  |  |  | 20.31
South Elevation
Window Type | Height (m) | Width (m) | No. of Windows | Individual Area (m²) | Total Area (m²)
318 | 2.55 | 2.035 | 2 | 5.19 | 10.38
355 | 2.25 | 2.035 | 2 | 4.58 | 9.16
356 | 2.25 | 2.035 | 2 | 4.58 | 9.16
CW02 | 4.315 | 1.023 | 2 | 4.41 | 8.82
Total Area (m²) |  |  |  |  | 37.52

## C Ext Doors
Block C
North Elevation
Door Type | No. of Doors | Individual Area (m²) | Total Area (m²)
309 (solid side panel) | 2 | 2.84 | 5.63
Total Area (m²) |  |  | 5.63
East Elevation
Door Type | No. of Doors | Individual Area (m²) | Total Area (m²)
Total Area (m²) |  |  | #REF!
South Elevation
Door Type | No. of Doors | Individual Area (m²) | Total Area (m²)
Total Area (m²) |  |  | #REF!
West Elevation
Door Type | No. of Doors | Individual Area (m²) | Total Area (m²)
Total Area (m²) |  |  | #REF!

## C Elevations
Block C
North Elevation
Wall Type | Individual Areas (m²)
Elevation Brick (Matt) | 70.4
Concrete | 20.2
Floor Slab | 6.9
Total Area (m²) | 97.5
North Inset
C-E 01
Wall Type | Individual Areas (m²)
Panel | 7
C-W 01
Wall Type | Individual Areas (m²)
Panel | 7
Total Area (m²) | 14
East Elevation
Wall Type | Individual Areas (m²)
Brick (Matt) | 90.6
Concrete | 6.9
Floor Slab | 5.4
Total Area (m²) | 102.9
South Elevation
Wall Type | Individual Areas (m²)
Brick (Matt) | 50.5
Concrete | 41.1
Floor Slab | 6.3
Total Area (m²) | 97.9
West Elevation
Wall Type | Individual Areas (m²)
Brick (Matt) | 97.5
Floor Slab | 5.4
Total Area (m²) | 102.9